REQUEST FOR QUOTES

RFQ 127361 Cowell Gym Tab Room Renovations

ADDENDUM 1 - May 01,2026

Response to Questions

Task 4 : Remove abandoned door….

Question: How do you want the exterior sided?

Response: The exterior opening should be bricked in with brick matching color as close as possible to existing brick

Task 8: Replace existing emergency door…

Question: The existing emergency door is non-standard size. Can the opening be reduced to fit a standard-sized exit door?

Response: Yes, the existing opening may be reduced in size to fit a smaller door. Any replacement must meet existing building codes for emergency exits.

Question; Do you want exterior hardware installed?

Response: No, no exterior hardware is required?

Task 13: Remove abandoned air conditioner….

Question: How should the exterior of the opening be enclosed

Response: The exterior opening should be bricked in with brick matching color as close as possible to existing brick