## Sheet1
Task | COMMBUYS RFQ 127361 Bidsheet |  | Price*
Cowell Gymnasium Exterior Improvements
1 | Remove and replace existing exterior siding along three walls for Tab Room with industry “Best Practice” detailing,
o Air Seal existing sheathing with tape or caulk
o Install Benjamin Obdyke Hydrogap House wrap (or equivalent)
o Install flashing where siding meets existing brick siding.
o Install corner boards where siding meets using same material as siding.
| Total all sub-tasks above with wood clapboard siding* |  | 0
| Total all sub-tasks above with Hardiplank or equivalent siding* |  | 0
* Siding to be primed on both sides and painted with a minimum of one (1) coat of paint. (Final color to be determined)
2 | Remove abandoned exterior door in Tab room,
o Frame in exiting opening to receive one vinyl window with fixed double pane hopper Low E, gas insulated window,
o Insulate, interior wall with rock wool or open cell cellulose and install sheet rock on interior.
|  | Total | 0
3 | Remove and replace as needed sill plate-along driveway with pressure treated lumber assuring complete water deflection from the building. Time and materials | Total | 0
4 | Remove abandoned door on north/east side of Tab Room in main basement space. | Total | 0
o frame in,
o insulate,
o sheetrock interior space
o side exterior
5 | Replace fixed window over abandoned door with vinyl double pane Low E gas insulated fixed window. | Total | 0
6 | Replace one single pane, double hung window on southeast side of east wall with: vinyl fixed upper sash single hung double pane Low-E gas filled insulated window. | Total | 0
7 | Remove, four fixed, plexiglass windows in basement under Tab Room and replace with tempered and obscured vinyl double glazed Low-E gas filled insulated hopper windows. | Total | 0
8 | Replace east emergency exit door of the gymnasium with a metal insulated door.
| o proper hardware to include “crash bar.” | Total | 0
9 | Repaint three (3) additional exit doors to match color.
|  | Total | 0
10 | Inspect and repair slate roof. (Please Provide a price per piece repaired. | Total | 0
11 | Replace all damaged trim, and sills and | Total | 0
o Paints all replaced trim and sills.
12 | Scrape and paint approximately sixty-six (66') feet by twelve (12") inches band on top of east wall. (2 Coats) | Total | 0
13 | Remove abandoned air conditioner sleeve on south side of building, | Total | 0
o insulate and enclose remaining holes on both interior and exterior openings.
|  | All Tasks Total w/ Wood Clapboards | 0
|  | All Tasks Total w/ Cement Siding | 0
* | Enter bid per task 1-13 in blue shaded area